## How to use this questionnaire
IF YOU ANSWER "NO" TO ALL THE QUESTIONS BELOW, YOU DO NOT NEED TO FILL OUT THIS QUESTIONNAIRE. IF YOU ANSWER "YES" TO ANY OF THE QUESTIONS, PLEASE FILL OUT THE APPROPRIATE TAB. SIMPLY INDICATE N/A IF THE SECTION DOES NOT APPLY TO YOU.
ALL VENDORS MUST COMPLETE THEIR FIELDS ON THE "VENDOR INFO" TAB THE IS OWNER OR BUSINESS OWNER SUBMITTING THE QUESTIONNAIRE MUST COMPLETE THE VIRTUA INFORMATION ON THE "VENDOR INFO" TAB
1. Does the product require any hardware such as a server, workstation or PC ? If yes, please fill out the "1-Hardware" tab. If No, Type NO on the Hardware tab | Yes
2. Does the product have any network component or requirements (wired or wireless)? If yes, please fill out the "2-Network" tab If No, Type NO on the Network tab | Yes
3. Does the product include medical device(s)? If yes, please fill out "3-MedicalDeviceSecurity" tab. If No, Type NO on the MedicalDeviceSecurity Tab | No
4. Does the device/system have an external software component, web services, a database, or interfaces with other software applications? If yes, please fill out "4-SoftwareLic,Database,Interf" tab and "5-IT_App_security" tab. If No, Type NO on the SoftwareLic,Database,Interf Tab
5. Please complete the "5-IT_App_security" tab. If any service, application, or system is hosted or communicates outside of Virtua, please also complete the "5-IT_App_security, Section 5F" tab.
6. If this solution includes any Artificial Intelligence or machine learning components please complete "6-Artificial Intelligence" tab.
7. If this system creates or maintains a legal medical record, please complete "7- Legal Health Record Req." Otherwise, please note "n/a."
8. If you have documented "Hardware" and/or "Software" requirements or other promotional documentation, please attach them to the "9-Additional Documents" tab
Incomplete or blank answers are the number one reason for delays in approval of questionnaire submissions. Please provide complete and accurate answers to all questions to ensure timely processing within the IT Review Process.
Updated September 16, 2024

## Vendor Info
Updated September 16, 2024 | Vendor comments
This page must be completed by the Vendor and Virtua Owner
Name of Vendor: | Compass Group / Canteen
Vendor Contact Name & Title:
Vendor Contact E-mail:
Vendor Contact Phone Number:
Vendor Technical Contact Name, Title, Phone Number and E-mail (for any questions Virtua may have)
Vendor Security Contact Name: | Melanie Kessel
Vendor Security Contact Email or Number: | melanie.kessel@compass-usa.com
Vendor Application URL
Vendor Website address: | compass-usa.com
Name of the product/application: | Vending machines
Model #:
Hardware/firmware version #:
Software version #:
Do you have a local field engineer who will perform the installation and configuration of hardware and software and be available for testing with our team(s)? If yes, please enter Name and Contact Information.
Is this an Upgrade to an existing system or use of new feature within an existing system? If yes, what new functionality will be utilized?
Does this system store and/or transmit patient data or any other confidential data elements?
Brief description of the system (if this is a medical device, please indicate intended use as approved by FDA)
Intended use at Virtua:
Virtua Internal Contact/Owner and phone number (Non IT):
Virtua IT Contact/Owner and phone number:
Vendor BAA Tier Level (IT Security)
Current Date:

## 1-Hardware
HARDWARE | Vendor comments | Virtua comments
Client device | Section 1 A
Will the System run on or be accessed from a PC? | No, vending machines are being provided per this engagement.
Is the application client based or web based? | N/A - Compass Group / Canteen is providing vending machines for snack and beverage purchashing.
If the application is web based, is Chromium Edge supported? | N/A
What are the minimum and recommended hardware specifications for the client device? | N/A
Does this system include vendor provided PC or hardware? Please specify. | N/A
Is the system certified to operate on Windows 11 workstations? 32 bit or 64 bit? | N/A
What is the latest version of Windows 10 supported? (e.g. 1809, 1909, etc.) | N/A
What other applications must exist on the workstation for this application to operate properly? | N/A
Is Virtua allowed to patch the OS with security updates as needed? | N/A
Can we install our anti-virus on the system? | N/A
Do you require local administrator rights on the desktop in order to operate the application? | N/A
Does the System include software to be run on a mobile device such as an iPad or Android tablet? If “yes” indicate the necessary requirements in the Comments section. | N/A
Server | Section 1 B
Does the system require a server? If so, please provide server and storage specifications. If no, skip this section. | No, vending machines are being provided per this engagement.
What type of RAID configuration is required?
What are the redundancy/high availability options for this solution?
What is your disaster recovery solution?
Are there additional hardware requirements? (i.e. Dongle, other PCIe or PCI-x boards) Please provide specs.
Please list all server types required for this product. (Print server, Interface, Web, Application, Database, etc.)
Will the System run only on Vendor-supplied server equipment?
Will each Vendor supplied server include:
UPS?
An OEM rail kit and cable management arm (for rack-mount solutions)?
Ethernet ports?
Full hardware support by Vendor? If "no" describe the scope of hardware support that will be provided in the Comments section.
Full operating system support by Vendor? If "no" describe the scope of operating system support that will be provided in the Comments section
Can the System be managed through remote desktop (RDP) or Terminal Services when completing remote administration both internally and externally to the Hospital?
Can the hospital purchase its own server hardware even if such hardware is not the Vendors standard? Our standard is HP.
Do you provide a test server?
Are other type(s) of peripheral equipment required? (DASD, tape, printers, back-up drives, modems, etc.) If yes, list in Comments section.
Is the hardware scalable to accommodate increased users and volumes?
How much storage is needed for this solution?
Do you support the implementation of this system in a virtual environment such as VMWare?
Is there any proprietary hardware? If yes, list in the Comment section
What are the hospital's options for server and data backup? Can we install our Avamar Enterprise backup agent on the server?
Do you support EMC Clarion storage solutions?
Does the System require a web server? If “yes”, please state in the Comment section which one(s) and the version number.
What is the operating system on the servers (Windows 2003 or higher, UNIX, OS400, AIX, etc.)?
Is the OS required to be at a specific service pack or patch level? If so, what are they?
If customization is required, is the customer able to perform the customization?
Can Virtua apply software upgrades?
How often are patches/fixes typically released for this software?
When is the next major platform upgrade anticipated?
Has your application been certified to run in a Citrix\Netilla or Terminal Server environment?
Other Hardware from line 4 of Network Tab. If these hardware devices require ip connectivity a separate Questionnaire may need to be completed. | Section 1C
Hardware Device 1 | Vending machines
Hardware Device 2
Hardware Device 3
Hardware Device 4

## 2-Network
NETWORK | Vendor comments | Virtua comments
Wired or Wireless | Section 2 A
Will this system, device, or application be connected to the Virtua network? | No
Does your system have multiple devices that require IP Connectivity? If so, please state yes here and add these devices to the Hardware Tab 1. | P2PE (Point-to-Point Encrypted) direct real-time connection to the card processor when items are checked out.
Does the system require Wireless IP connectivity? If yes, please see Section 2D below | P2PE (Point-to-Point Encrypted) direct real-time connection to the card processor when items are checked out.
LAN Compatibility | Section 2 B
Are all communications via TCP/IP over Ethernet? If not, please explain | N/A - This engagement is for vending machines.
Will the System properly auto-negotiate the speed and duplexing of the Ethernet connection to network switches? | N/A
What are the speeds and duplexing of the Ethernet connection that are supported? | N/A
Is the System compatible with a fully routed IP network? If, for example, the System depends on MAC- or IP- broadcast-oriented communications for anything other than BOOTP/DHCP, it is not compatible with a routed network. If “no” provide additional information | N/A
Is your system able to use DHCP? Any systems being brought in that require a static IP address will be required to use a DHCP Reservation. | N/A
Does the System depend on IP Multicast for any functionality? If “yes” explain what multicast is used for | N/A
WAN Compatibility | Section 2 C
Is the System designed to be used in a WAN environment? For example, is the underlying database known to be WAN-friendly, are the interactions between the host/server and the user minimally sensitive to latency, etc.? | N/A - This engagement is for vending machines.
What is the system response time for five(5), twenty (20) users and a hundred (100) users? | N/A
What is the system startup time for five (5) users, 20 users, 100 users? For example, will the time from when the users log in until the System is presented for use be less than 6 seconds? | N/A
If the system is significantly slowed down, is there a solution? | N/A
Radio Transmission | Section 2 D
Does the system require a wireless network? | N/A - This engagement is for vending machines.
Does the System include or require devices that use radio transmissions? If no, skip the rest of this section | N/A
Does the System include or require 802.11 wireless connectivity? If yes which standards does it support (g/n/ac/ax) | N/A
Does the System support 5ghz? | N/A
Do you require your own wireless infrastructure? If no skip A, B and C. | N/A
A. What frequency range(s) does the system use? | N/A
B. Do you support WPA-2 Enterprise with AES encryption? | N/A
C. Does your device support WPA2-Enterprise with PEAP (MS-CHAPv2) security method? If no please list supported methods in comment section. | N/A
D. Does your device support WPA2-Enterprise with PEAP (TLS) security method? If no please list supported methods in comment section. | N/A
Will your devices connect to the existing wireless infrastructure? If no skip rest of section. | N/A
Does your device support Captive Portal type authentication? | N/A
Remote Support Requirements | Section 2 E
Is remote support required for the System? | No
Does your System require VPN connectivity ? If yes, see below? | No, vending machines do not require VPN.
Production Connectivity Requirements | P2PE (Point-to-Point Encrypted) direct real-time connection to the card processor when items are checked out.
Do you have an issue using the Virtua's Citrix remote access for remote support of the system(s)/application? | N/A
If no to above question, please provide reason why? | N/A
Does your system require VPN connectivity for interfacing with other Virtua systems? If so, can you provide what systems? What Data Ports would be required? | N/A
Production Connectivity Requirements | Section 2 F
Does this system/equipment have DHCP capability? If not, please explain what methods are required. | N/A - this engagement is for vending machines
Other than for remote support as discussed above, does the System require electronic transmission of data between the hospital and a non-hospital site? If “no” skip the rest of this Section | N/A
Please explain how this application connects. Examples: HTTPS, RDP, SSL VPN | N/A
Do you force secure transfers such as TLS 1.2, SFTP, or FTPS? | N/A
Does the Agreement include any telecommunications services, such as leased lines? If “yes” explain and indicate any associated charges in the Comments section. | N/A
Telecommunications requirements | Section 2 G
Does the System include hardware or software that will require connection of a telephone line either directly or via an external modem? If no, skip this section | N/A - no telephone line involved for vending machines
Is any Hospital-specific data transmitted via telephone line encrypted with a key of at least 128 bits? If “no” provide additional information in the Comments section. | N/A
Can the provided telephone line be limited to out-dial only? If “no” provide additional information in the Comments section. | N/A
Does the System require a connection or interface to the PBX, key system, or public carrier? If “no” skip the rest of this question. | N/A
Is it an analog line? | N/A
Is it a digital line? | N/A
Is it an analog trunk? | N/A
Is it a digital trunk? | N/A
Is it a H.323 trunk? | N/A
Is it a SIP trunk? | N/A
Internet Environment | Section 2 H
To obtain functionality or services included in the Agreement, or related support, will it be necessary for devices/systems to connect to the vendor via the Internet? If “no” skip the rest of this Section | Yes, for vending payments. P2PE (Point-to-Point Encrypted) direct real-time connection to the card processor when items are checked out.
Is the IP address of Vendor’s website registered to Vendor? This will generally be true unless Vendor has outsourced its website. If “no” explain the outsourcing arrangement in the Comment section. | N/A - no website involved for vending machines
Are the Internet connectivity requirements for accessing Vendor similar to those for accessing a typical website such as CNN.com? If “no” provide bandwidth requirements in the Comment section. | N/A - no website involved for vending machines
Firewall | Section 2 I
Is firewall recommended for the setup? If so, what is the requirements on the firewall (e.g. throughput limitations, port(s) that need to be allowed) | Yes
Hosting/Cloud Section | Section 2 J
Will resources be needed to be accessed from the public internet ? | No, this engagement is to implement vending machines.
Do resources need to access the public internet ? | N/A - vending machines
Approximately how many IP addresses are needed ? | N/A - vending machines
Do your resources need access to resources in other subscriptions ? | N/A - vending machines
Will internal users be directly accessing resources ? | N/A - vending machines
Services | Section 2 K
What cloud service provider are you using?

## 3-MedicalDeviceConnectivity
MEDICAL DEVICE CONNECTIVITY | Vendor comments | Virtua comments
Does the system include any medical devices? If yes, please fill out all following sections. Also, please attach the MDS2. | No, this engagement does not involve medical devices. This engagement is for vending machines.
Physical connections | Section 3 A
What device connection method(s) does the device use? (e.g., RS-232, USB, proprietary, Ethernet) | N/A
Please provide detailed documentations for all connection specifications (e.g., pin out, connector, baud rate, etc.) | N/A
Gateway | Section 3 B
Does your system require a gateway to interface to external systems? If so, please provide a network diagram indicating the necessary connection. If no, skip the rest of this section | N/A
How often can gateway output data? Is it real time data? | N/A
What is the backup mechanism of the gateway? How is data backed up in the event the gateway lost connection? Do you have an embedded high availability solution? Do you have an imbedded load sharing solution? | N/A
Is there limitation on the number of beds/patients/devices/rooms/units/facilities that each gateway can support? | N/A
Time management | Section 3 C
How is time sync on the device? Can this device/system get time from an NTP server? | N/A
If the device/system can obtain time from hospital NTP server, how does the system deal with daylight saving time? Would the system overwrite data during fall back? | N/A
Data output | Section 3 D
Please list all patient, device, and alarm parameters that can be output from the system | N/A
Please specify the type of data that can be exported (e.g., discrete, numeric data, continuous waveform data)? | N/A
How often is data sent? | N/A
Does the device uses any of the standard interface protocols such as HL7, xml, DICOM, modality work list (please indicate all that applies and version supported) If the device does not support standards, please provide documentation on the device communication protocol | N/A
Other | Section 3 E
If your product is to be utilized in a hospital setting, it must be a approved by a Nationally Recognized Testing Laboratory (NRTL) like Underwriters Laboratories (UL). Is your product approved by a NRTL? | N/A
Software Connectivity | Section 3 F
Does the medical device externally communicate with any other device or software? If no, skip the rest of this section. | N/A
Please provide a list of all devices and gateways/servers that you communicate with or offer integration to. | N/A
What hardware or software is needed for medical device integration? | N/A
Do you offer both wired and/or wireless device integration solution? | N/A
Please describe in detail and provide connectivity diagram for integrating devices. | N/A
Are there any licensing limitations related to medical devices? | N/A
For new medical devices, can you guarantee new driver development within 90 days of notice? | N/A
How does the system associate device data with the correct patient? | N/A
Can you format the labeling of the medical device data to Virtua's standard and available fields? | N/A
Is data cached in the event the network is down? For how long? | N/A
Imaging connectivity | Section 3 G
Does the System acquire, generate, or process images? If so, what are the formats of the images generated and stored? | N/A
Are images DICOM compatible? Is the System able to import/export the images in DICOM format from / to a PACS system? | N/A
How are images identified to the PACS? | N/A
What is the size range of the images generated? | N/A
How is data and PHI wiped from the device(s)? | N/A
Can the hard drive be removed? | N/A

## 4-SoftwareLic,Database,Interf
SOFTWARE LICENSE, DATABASE, AND INTERFACE | Vendor comments | Virtua comments
License | Section 4 A
Does the system have a software component? If no, skip this section. | N/A - Compass/Canteen is providing vending machines per this engagement, not developing software
What is the licensing structure for this system (site, concurrent, per seat, per facility, etc.)?
If concurrent user based license, what do you consider to be concurrent users? (I.e., printers, staff, etc.)
Are there any other software requirements and if so, what versions are supported? (i.e. .NET, Adobe, etc……)
How scalable is the licensing structure?
Do you have "try before you buy" program?
Data and Database Management | Section 4 B
Does the system have a database? If no, skip this section. | No physical databases, vending software is cloud hosted.
If yes, is the database embedded within the software on a medical device or is the database located on a server? | No medical devices or physical servers involved per this engagement.
Can the vendor supply a data dictionary and data schema? | N/A - Compass Group/Canteen providing vending machines
What is your database platform and what version? | Vending software is cloud hosted.
Will Virtua be responsible for database maintenance jobs including backups? | No
What is the database engine? (SQL Server, Sybase, Oracle, Cache, IMS etc.) | N/A
What is the latest service pack level for your database engine? | N/A
Do you have a process for archiving data? If so, please describe the process for archiving data. | N/A
What factors influence database growth? | N/A
What are the first three years projections for database growth based upon Virtua's supplied volumes? | N/A
When is data archived to/from the long term storage device? | N/A
Is data ever purged from the system? If yes, please explain. | N/A
Is data stored on the web servers or other front-end application servers? If yes, when and how is the data moved to the storage device? | N/A
Is data retrieved via a supported application module once archived? | N/A
Can the data be purged based upon Virtua's defined parameters (ex. After 7 years)? | N/A
Is this a Remote Hosted Database - Server, if yes do you allow customers to access it…? | N/A
Reporting/Reconciliation/Validation | Section 4 C
What is the Reporting Platform and Version ? What type of Connectivity is available for reports - OLE - ODBC, Web Gateway ? | N/A - Compass/Canteen is providing vending machines per this engagement
Is there licensing needed for Model Report Viewing, Custom Report Building ? | N/A
Do you allow ODBC connection to the data? | N/A
What types of Model Reports are available (i.e.) Validation Reconciliation counts to transaction tables, Charge vs. Revenue Capture, Insert \ Update Audits ? | N/A
What are the model Reports run against ? Tables, Views, Reporting Views, Reporting Store, Data Marts, Dimensional Model ? | N/A
When creating custom queries for reporting, would the activity be against the live transactional database, a replicated copy of the data or a data warehouse to avoid possible performance impacts to the application? | N/A
Is the model Reporting Schema Content Documented ? Do you have production examples to provide to Customers? | N/A
Do you have a dashboard or some type of indicator platform for metrics ? | N/A
Do your model reports run on some type of scheduler or are they on demand ? Is there a data archival capability ? | N/A
Do you have any reports or data exports that are used for Regulatory needs CMS, Core Measures, Quality ? | N/A
Do you have any disaster recovery types of reports \ exports that are generated to support a long or short downtime ? | N/A
Interfaces and Data Output | Section 4 D
How is time sync on the device? Can this device/system get time from an NTP server? | N/A - Compass Group / Canteen is providing vending machines per this engagement
Does the application use any sort of interface engine? If so, what? | N/A
Does this system use FHIR integration and is it expected to integrate with our Epic EMR? If yes, please attach the Epic Questionnaire to this spreadsheet. | N/A
Are HL7 trigger events supported? If so, please list the trigger event and what type of record is created. | N/A
Can your system accept a standard ADT message? If no, please explain how the system receives patient information | N/A
What monitoring tools are available on the system for alerts about interface issues? | N/A
Can results be embedded in HL7? | N/A
Can the system generate PDF files? If so, what type of data will be contained in the PDF files? | N/A
Can pdf-based results be sent to a document management system? If so, how? | N/A
Can the system automatically generate a filename for each pdf file to include the facility and patient encounter #? | N/A
Does the product support IP protocol for delivery of interface? | N/A
Does the interface send discrete data back into our Epic EMR? If yes, please describe. | N/A
If your product produces data for the Legal Health Record, an electronically interfaced must be created and transmitted to the HIM system in a human readable textual format. i.e. not scanned, not PDF, etc. Will your system comply with this requirement? | N/A
Other Application Questions | Section 4 E
Is this system ICD10 compliant? | N/A - vending machines
Is this system "ONC Certified" for encryption and privacy? | N/A - vending machines

## 5-IT_App_Security
SECURITY | Vendor comments | Virtua comments
Please fill this section out if the system has network or software/database/application components
General HIPAA | Section 5 A
Does your organization receive, process OR store sensitive information such as ePHI for Virtua? | No PHI involved
Has your organization signed a Business Associate Agreement with Virtua? | Business/legal needs to confirm?
What type of business process does your organization perform for Virtua? | Vending machines for snacks, beverages, and food.
Describe the scope of the sensitive information such as ePHI used: i.e. billing data, demographic, clinical, etc. | No PHI involved
Does your organization have workforce members who work onsite at a Virtua facility? | For installation of vending machines and in the event of troubleshooting support.
Has your organization been granted physical access to any of Virtua locations? | To be determined during contract negotiations
Describe the method of access and locations of access: i.e. badge, key, point of contact, etc. | To be determined during contract negotiations
Have your workforce members been granted electronic access to ANY of Virtua systems? | No
Does your organization operate and maintain a formally documented Compliance Program that includes Information Security and Privacy? | Yes
Are metrics of the Compliance Program reported to executive leadership at a minimum annually? | Yes
Has your organization implemented HIPAA policies and procedures? | HIPAA not applicable per this engagement for vending machines
Would your organization be willing to provide a copy of current policies and training to Virtua if requested? | Please see General Policy Request statement.
Does your organization have a Risk Management Program? | Yes
Does your Risk Management Program include documented procedures on who may accept identified risks? | Yes
What methodology or framework was used to perform your risk analysis? | N/A
Please provide the date of the organization's last completed Risk Analysis. | N/A
Was the Risk Analysis conducted by the organization or a third party? | N/A
Has your organization formally designated an Information Security Officer responsible for HIPAA Security Compliance? | N/A - no HIPAA compliance required per this engagement for vending machines.
Please provide the individual's name and job title for the person designated as the Information Security Officer responsible for HIPAA Security Compliance. | N/A - no HIPAA compliance required per this engagement for vending machines.
Please provide the individual's name and job title for the person designated as the Privacy Officer responsible for HIPAA Privacy Compliance. | N/A - no HIPAA compliance required per this engagement for vending machines.
Does your organization conduct new hire and annual HIPAA Privacy and Security Awareness Training? | N/A - no HIPAA compliance required per this engagement for vending machines.
Do you administer a post training assessment with a minimum passing score? | N/A - no HIPAA compliance required per this engagement for vending machines.
Does your organization have a documented Privacy and Security Incident Response Plan? | Yes
Has your organization had any major security incidents over the last two years? If yes, please explain. | No
Does your organization periodically scan the Internet, Dark Web, or Social Media sites for potential breaches of customer data? | Yes
Does your organization periodically review the risk of your subcontractors to include Business Associates? | Yes
Are appropriate Business Associate Agreements in place for ALL subcontractors with access to Virtua ePHI? | N/A - no PHI involved
If your organization store, process or acces sensitive information on behalf of Virtua Health, provide the date of the most recent Disaster Recovery Plan test. | N/A - no sensitive information stored for vending machines
Does your application or device communicate to any site or IP outside the United States? If so, please explain in detail. | No
Does your organization encrypt data at rest for all workstations, mobile devices, and removable media? | Yes, all data is encrypted in transit and at rest
Does your organization have a disposal or media reuse policy? | Yes
Identity and Access Management (IAM) | Section 5 B
Does each person have a unique ID to access the product? | N/A - no customer ID access required for vending machine purchases
Does the system support role based access? | N/A - no access to vending machine required for customers
Does the application or system integrate with a directory service such as ADFS, SAML, etc? | N/A
List available interfaces such as API, AD Integration, Screen scraping, …, to automate ID entitlement maintenance. | N/A
Is there an upload tool for the initial ID creations? | N/A - no customer IDs involved in vending machine purchases
Describe any generic, default, administrative, or system user accounts required in the production environment post go-live. | N/A - no customer IDs involved in vending machine purchases
Is there a role specifically for Virtua's IAM team to maintain ID entitlements? | N/A - no customer IDs involved in vending machine purchases
Is there a cost for a team of 15 Virtua IT IAM people to have unique IDs for the sole purpose to maintain IDs? | N/A - no customer IDs involved in vending machine purchases
Are there any restrictions for an ID to be created and used, for our provisioning system to log in and maintain IDs automatically? | N/A - no customer IDs involved in vending machine purchases
Is there a role specifically for Virtua's IT Service Desk team to unlock ID’s and reset passwords? | N/A - no customer IDs involved in vending machine purchases
Does the application support secure LDAP(LDAPS)? If not, what is the roadmap for supporting secure authentication to AD? | N/A - no customer IDs involved in vending machine purchases
Are there any local .ini file or config files needed on the workstations to control printing or roles? Please explain in detail if the answer is YES. | N/A - no customer IDs involved in vending machine purchases
Can the application be set to automatically log off an ID after 30 minutes of inactivity? | N/A - no customer IDs involved in vending machine purchases
Are there any hardcoded credentials embedded in the application? | N/A - no customer IDs involved in vending machine purchases
Can the application/system enforce authentication complexities/ strong passwords?) Minimum of 8 chars, upper and lower case characters, mix of alphanumeric and special chars.) | N/A - no customer IDs involved in vending machine purchases
Does the application prevent the use of dictionary words for passwords? | N/A - no customer IDs involved in vending machine purchases
Can the user change their password at any time? | N/A - no customer IDs involved in vending machine purchases
Can the system force periodic password changes every 90 days? | N/A - no customer IDs involved in vending machine purchases
Does the system support the functionality of forcing a password change at the first login or after a password reset? | N/A - no customer IDs involved in vending machine purchases
Does the system support password history and prevent users from re-using the last 5 passwords? | N/A - no customer IDs involved in vending machine purchases
Does this system support the ability to locked the account after 3 invalid login attempts? | N/A - no customer IDs involved in vending machine purchases
Are any user credentials and passwords (i.e. system or database access) embedded into the application code? | N/A - no customer IDs involved in vending machine purchases
If the application stores data on a remote database server, how is the data transferred to the database server (i.e. is it encrypted) and how is the data secured on the database server? | N/A - no customer IDs involved in vending machine purchases
Will this system/application store or transmit ePHI, credit card data, PII, or any other confidential or proprietary data? | N/A - no customer IDs involved in vending machine purchases
Does the application or system support dual factor authentication? If so describe enrollment and management process. | N/A - no customer IDs involved in vending machine purchases
Transmission Security | Section 5 C
Does the system transmit ePHI or any other form of confidential data to any organization outside of Virtua Health? If so, what transmission security mechanisms are in place to secure this transmission? | N/A - no PHI involved
Does this application/system force TLS 1.2 end to end for transmission security? If not, what is the roadmap for supporting this this? | P2PE (Point-to-Point Encrypted) for payments
Do file transfers occur in or out of this application. If so, please list all transport methods. (I.E. FTP, FTPS, SFTP, Modem). If clear text protocols are used such as Telnet and FTP, please explain the upgrade plan/path for your application or device for using secure protocols like SFTP, TLS, and SSH. | N/A - no file transfers involved
Are usernames and passwords encrypted when they traverse the network or are they in clear text while authenticating? (e.g. Will a sniffer trace show usernames and password, ePHI, etc. in clear text?) | N/A - no username or passwords for vending machines
What TCP/UDP port numbers does this application, device, or system communicate over? (TCP or UDP port numbers the application communicates on). | N/A
Computing Device Controls | Section 5 D
Will this application be accessed by any mobile devices such as iPads, laptops, PDA's, etc.? | N/A - Compass/Canteen is providing vending machines
Is any data stored locally on these devices, please list all of the security mechanisms in place to secure the data?(e.g. Encryption) | No data stored locally on vending machines.
Are there any specific file/directory Anto Virus exclusions required for your application? | N/A
If user credentials and passwords are stored locally on these devices for the application, please explain how these are securely stored. | No user credentials and passwords stored locally on vending machines
If encryption is used, please list cipher and strength. (e.g. AES 256 bit) | N/A
Audit Capabilities | Section 5 E
Does the system have the capability to audit each time a record is viewed? Does this include search events? | N/A - no viewing records involved with vending machines
Does the audit report support running the report by user and/or patient by date range? | N/A
Does the system have the capability to audit each time a record is modified? | N/A
If the application/system does not contain, store, or transmit confidential data, please list all of the audit features the application is capable of. | N/A
Does the system have the capability to audit log-in success and failures? | N/A
Does the system have the ability to audit who printed and where the print job went? | N/A
What format are the log output (i.e. syslog, flat file, proprietary database, csv, etc.)? | N/A
What level of auditing does the system support? At the System, File, record level or all? | N/A
Do you provide pre-written reports and utilities to view audit logs? | N/A
Do you have the ability to export your audit log data to csv format to be ingested into our privacy auditing application called Fairwarning? | N/A
Hosting/Cloud Section - Please skip this section if this model is not applicable. | Section 5 F
Provide an architecture document that includes a full network diagram of the (vendor) application environment, illustrating the relationship between the environment and any other relevant networks? Please provide a full data flowchart that details where the Virtua Health data will reside, the applications that manipulate it, and the security thereof. | N/A - providing vending machines
Is the equipment hosting the application for Virtua Health located in a physically secure facility? Please list all physical security measures in place to safeguard our data. (e.g. Camera's, Mantrap, Biometrics, etc.) | Vending machines will be physically located in Virtua Health location.
Describe the fault tolerance, high availability, back-up and recovery along with offsite storage mechanisms that are currently in place.
Do you have an SSAE16 SOC2 data center? If so, we will need to review this and receive an annual copy. | N/A - vending machines
Are there any SOC2 complementary user control considerations?
Is your Production, Test, and/or DR data centers as well as your support inside the United States? If not, please explain in detail. | Yes
Can you provide a list of the personnel that will have access to the environment hosting the application for Virtua Health?
Does the hosting company isolate the Virtua Health application on its on host, including a separate infrastructure? | Yes
Is data co-mingled with other organizations data. If so, please list security safeguards in place to protect our data. | No
Do you use Kaspersky anti-virus? | N/A
How will data go between Virtua Health and the ASP? Will it be via VPN or a public network? If via a public network what type of Fire-walling technology and cryptographic technology (IPsec, SSL, SSH/SCP, PGP) do you employ? | N/A
How are the ASP hosts hardened versus attacks? Do you have hardening documentation that you can provide? | N/A
Can you provide me with a list of current patches on hosts, including host OS patches, web servers, databases, and any other material application? | N/A
How does the ASP keep up on security vulnerabilities, and what is the policy for applying security patches? Have you had penetration testing done by a third party? | N/A
What is your process for monitoring the integrity and availability of the host where the Virtua Health application will reside? | N/A
Can you provide me information on your account generation, maintenance and termination process, for both maintenance as well as user accounts? Include information as to how an account is created, how account information is transmitted back to the user, and how accounts are terminated when no longer needed. | N/A - no customer accounts required for vending machine purchases
What does the web front-end application use? Java, JavaScript, ActiveX, PHP or ASP (active server page) technology. | N/A - no applications being developed per this engagement
What language is the application back-end written in? (C, Perl, Python, VBScript, etc.) | N/A - no applications being developed per this engagement
Please describe the ASP process for doing security Quality Assurance testing for the application. For example, testing of authentication, authorization, and accounting functions, as well as any other activity designed to validate the security architecture. | N/A - no applications being developed per this engagement
Has the ASP done web code review, including CGI, Java, etc., for the explicit purposes of finding and remediating security vulnerabilities? If so, who did the review, what were the results, and what remediation activity has taken place? If not, do you mind submitting to one done by a third party vendor or our choosing? | N/A - no applications being developed per this engagement
Are you working with production data (as opposed to Test/Dev) ? | N/A - no applications being developed per this engagement
Is a managed identity required for your resource ? | N/A - no applications being developed per this engagement
If a cloud based storage account is required does it need public access ? | N/A - no applications being developed per this engagement
Are there any operational and enduser logs that can be sent to a SIEM solution ? | N/A
Data | Section 5 G
Are there any interfaces required (inbound or outbound from the cloud solution) ? | No
If PHI data is involved do you use FHIR? | No PHI involved
Do you store any data outside the US (cloud based or otherwise) ? | No
Will any Virtua data be stored in your tenant ? | No
Specfic to cloud based storage, will there PHI/PII data stored ? | N/A - no PHI or PII involved with vending machine purchases
If yes is the data co-mingled with any of your other cloud based customers ? | No

## 6-Artificial Intelligence
Artificial Intelligence | Vendor comments | Virtua comments
AI System Overview | Section A
Does your solution include any AI or machine learning (ML) components? If yes, please describe the AI/ML features and functionalities provided. | No AI involved for vending machines. All questions on this tab are N/A.
What AI technologies are used in your solution? (e.g., Natural Language Processing, Large Language Models, Computer Vision, Predictive Analytics, etc.) | N/A
Are the AI components developed in-house, or do they involve third-party tools or libraries? If third-party tools are used, please specify the vendor and version. | N/A
Data and Model Management | Section B
How does your AI solution handle data ingestion and preprocessing? Can the solution automatically clean, normalize, and structure data for AI models? | N/A
Describe the model training and retraining processes supported by your AI solution. - Is it possible to retrain models on-site with customer data? - How often are models updated or retrained? | N/A
How does your AI system handle data privacy and security, especially concerning training data? Does the system comply with HIPAA, GDPR, and other relevant regulations? | N/A
Model Explainability and Bias | Section C
Does your AI solution provide model explainability and interpretability features? - Can users understand the decision-making process of AI models? - What methods are used to ensure transparency (e.g., SHAP, LIME)? | N/A
How do you identify and mitigate bias in your AI models? Do you provide tools or reports for bias detection and mitigation? | N/A
Deployment and Integration | Section D
How is your AI solution deployed (on-premises, cloud, hybrid)? What are the requirements for deployment (hardware, software, network)? | N/A
Does the AI system integrate with existing IT infrastructure and databases? What APIs or integration tools are available to connect with EMR/EHR, LIS, PACS, etc.? | N/A
How scalable is the AI solution? Can it handle increasing amounts of data and user requests efficiently? | N/A
Performance and Validation | Section E
What performance metrics are used to evaluate the AI models? Can users access real-time performance dashboards? | N/A
Has your AI solution been validated in real-world healthcare settings? If yes, provide details of the validation studies and results. | N/A
User Interface and Experience | Section F
How does the user interface support AI functionalities? Are there dashboards, visualization tools, or interactive elements for end-users? | N/A
Can non-technical users easily interact with and benefit from AI features? Is training or onboarding provided to help users understand and utilize AI tools effectively? | N/A
Support and Maintenance | Section G
What ongoing support is provided for AI components? - Is there a dedicated team for AI-related issues? - How are updates, patches, and bug fixes managed? | N/A
How do you ensure the AI models remain accurate and relevant over time? Are there regular checks, validations, or updates scheduled? | N/A
Compliance and Ethics | Section H
Does your AI solution comply with ethical guidelines for AI in healthcare? How do you address issues like consent, patient safety, and ethical decision-making? | N/A
Are there safeguards in place to prevent AI-driven decisions from adversely affecting patient care? Can human oversight override AI decisions? | N/A
AI Usage and Reporting | Section I
How is the usage of AI functionalities monitored within the system? Are there audit logs or reports on AI usage? | N/A
Can the system generate reports on AI model performance and outcomes? If yes, what types of reports are available (e.g., accuracy, false positives/negatives)? | N/A
Does the system allow users to provide feedback on AI outputs? How is this feedback used to improve AI models? | N/A
Is there a mechanism for continuous learning or adaptation based on user feedback and real-world data? | N/A

## 7- Legal Health Record Req.
Answers on this tab are required if the system creates or maintains a legal medical record. Otherwise, please note "n/a."
Legal Health Record Requirements | Vendor comments | Virtua comments
Electronic Signature/Record Authentication | Section 7 A
Does the system support electronic signature? | N/A - no electronic signature required for vending machines
Does the electronic signature include author name, credentials, date and time of signature? | N/A - no electronic signature required for vending machines
Maintenance of the Legal Health Record | Section 7 B
Is there an integration process to Virtua's electronic health record systems? Describe any required operational triggers or workflow. | No
If the above process fails for technical or operational reasons, does the system alert a user? Please describe. | N/A
How is document versioning handled? Can addendums/late entries/corrections be done, and how does that look in the record (both on screen and in the output)? | N/A
If a new version is created after the record has interfaced to another system, will the revised document be triggered to be sent automatically? | N/A
How are true errors able to be corrected? (For example, another patient's name was written in a narrative note, and must be removed to avoid a HIPAA violation.) | N/A
If the system maintains a legal health record, are there any limitations or technical requrements (software or hardware) related to retention of the record (NJ retention requirements are a minimum of 10 years AFTER the most recent visit, and longer in some cases)? For example, upgrade version requirements. | N/A
Are there any limitations to converting the clinical information to another system, if the system is to be decommissioned? (For example, items linked to other areas in the system.) What output formats are available for conversion? | N/A
Release of Information (Disclosures) | Section 7 C
If this system will maintain a legal health record (rather than interfacing it to Virtua legal health record), what is the process to release the record electronically? Can a user easily compile all necessary data elements into one output, for the time period requested? | N/A
If this system will maintain a legal health record (rather than interfacing it to Virtua's legal health record), what output formats are available when releasing the record? For example - print, fax, save to file. What file types are available (pdf, etc.)? | N/A
If the record must be released from this system (rather than interfacing it to Virtua's legal health record), can the electronic output be password protected and encrypted? | N/A
When a record is generated, does the output contain a minimum of patient name, date of birth, date of service, and Virtua identifer, such as medical record number? | N/A
Please provide a sample of the documentation contained in the legal record output (with sample clinical information). | N/A
Patient Identity | Section 7 D
Does the system accept HL7 message for merges transactions, patient name updates, etc.? | N/A - vending machines
Is there an ADT feed from Epic or other patient care system to ensure patient matching? If not, how will you ensure Virtua's patient identification standards are met? (Legal name, not insurance name, is required for patient identification.) | N/A - vending machines
If no ADT feed is planned, but interfaces are planned, note that Virtua's policy requires patients to be identified by legal name. Does the system support appropriate demograpic elements to achieve this? Alternate naming conventions will result in duplicate records and patient safety concerns and are note allowed by Virtua. Please see the AHIMA Recommended Data Elements for Capture in the Master Patient Index. | N/A - vending machines

## 8- Support Requirements
Support Requirements | Vendor comments | Virtua comments
Support | Section 6
Please describe the support model for this product.

## 9 - Additional Documents
ADDITIONAL DOCUMENTS
Please attach any additional documentation that is available including but not limited to Hardware and Software Specification